The Microprocessor Controller is configured with MODBUS capabilities.  MODBUS enables the user to establish master-slave communications with any connected device that supports the MODBUS protocol.  The controller currently supports MODBUS TCP/IP.