- Prepiped coalescing prefilter with automatic drain installed

- Prepiped particulate afterfilter

- Three valve bypasses around pre and afterfilter

- Pressure differential indicators on both filters.