- Prepiped particulate prefilter with automatic drain installed.

- Prepiped coalescing filter with automatic drain installed

- Prepiped particulate afterfilter

- Three valve bypasses around pre and afterfilter

- Pressure differential indicators on both filters.