- Prepiped coalescing prefilter with automatic drain installed

- Prepiped particulate afterfilter

- Three valve bypasses around pre and afterfilter and dryer bypass

- Pressure differential indicators on both filters.