Provides continuous monitoring of dryer discharge air temperature.  Should a high outlet temperature exist, an alarm is activated to alert service personnel of alarm condition.